## Index
Offshore windfarm LCOE Model (DCF Method)
| --------> | Input Values | Index
|  |  | 1 | CAPEX Inputs
|  |  | 2 | Financial Parameter Inputs
Color Indications (in Project Timeline) |  |  | 3 | OPEX Inputs
|  |  | 4 | AEP Inputs
| --------> | Development | 5 | Summary
| --------> | Financial Close | 6 | DCF Calculations
| --------> | Construction | 7 | Results
| --------> | Operation
| --------> | Decommissioned
R | --------> | Real
N | --------> | Nominal

## CAPEX-Input
|  | (mil.EUR) | (mil.EUR/MW)
| Cost Categories | Total Cost | Specific Cost | % | Offshore Wind farm parameters | Inputs | Units
1 | Development cost | 89.25 | 0.119 | 4.44% | Name | …
2 | Turbine supply | 1000 | 1.3333 | 49.75% | Farm Size | 750 | (MW)
| Monopile | 145 | 0.19333 |  | Turbine Nameplate Capacity | 10 | (MW )
| Transition Piece | 30 | 0.04 |  | Number of Turbines | 75
| Secondary Steel Structures | 39 | 0.052 |  | Water Depth | 35 | (metres)
3 | Foundation | 214 | 0.28533 | 10.65% | Distance to shore | 70 | (km)
| Dredging & Survey | 8.35 | 0.011133 |  | Foundation Type | Monopile
| Foundation & TP Install | 59.7422 | 0.079656 |  | Rotor Diameter | 154
| Turbine Install | 59.94 | 0.07992 |  | Hub Height | 110
| Scour protection | 11.25 | 0.015
| PLGR | 0.1885 | 0.00025133 |  | Inter array Cable Voltage | 66 | (kV)
| Array Cable Install | 29.7563 | 0.039675 |  | Export Cable Voltage | 220 | (kV)
| Substation Install | 12.15 | 0.0162 |  | Export Cable Size | 1600 | (mm2)
| Export Cable Install | 45.696 | 0.060928
| Onshore Electrical supply & install | 45 | 0.12
4 | Installation | 272.0729 | 0.36276 | 13.54%
| Inter-Array Cable Supply | 24.6028 | 0.032804 |  |  | (mil.EUR)
| Offshore Substation Supply | 61.305 | 0.08174 |  | Transmission Cost (Connection to Grid) | Total Cost
| Offshore Export Cable Supply | 144.704 | 0.19294 |  | Substation supply | 61.305
5 | Electrical Infrastructure (Until Landfall) | 230.6118 | 0.30748 | 11.47% | Export cable supply | 144.704
| Construction Insurance | 33.75 | 0.045 |  | Installation | 57.846
| Project Management | 83.0592 | 0.11075 |  | Onshore Electrical supply & install | 45
| Contingency | 87.2122 | 0.11628 |  | Total | 308.855
6 | Other CAPEX | 204.0214 | 0.27203 | 10.15% | OPEX assumptions (1% of Transmission CAPEX ) | 3.0885
| Total CAPEX | 2009.9561 | 2.6799 | 100%
| DECOM (65% of installation Cost) | 176.8474 | 0.2358

## FIN_Inputs&ProjectTimeline
General Inputs
Currency | EUR
FID Year | Year 0 in project timeline
Input Terms (EUR) | Real EUR in FID Year
Output Terms (EUR) | Real EUR in FID Year
Inflation rate % | 2%
Operational Years | 25
Capital Structure (Project Finance)
Debt | 70%
Equity | 30%
Debt-to-Equity Ratio | 2.3333
Debt rate | 4%
Equity rate | 8%
Effective Corporate Tax Rate | 25%
WACC
WACC (Nominal Pre-tax) | 5.2%
WACC (Nominal Post-tax) | 4.5%
WACC (Real Pre-tax) | 3.137%
WACC (Real Post-tax) | 2.451%
Depreciation
Method | Straight Line |  |  |  | Depreciation options
(Dep. Rate if Declining Balance Method) | 20% |  |  |  | Straight Line | Declining Balance
Windfarm Earnings Assumptions
Subsidy | 53.25 | (EUR/MWh)
Subsidy Period | 15 | (Years) |  | (Change the binary values in Earnings Assumption below, if different subsidy periods are considered)
Electricity Price | 50 | (EUR/MWh)
Project Timeline | (Proportion in the table represents the expenditure/plant operation)
Asset life (Year) |  | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
Wind Farm Operation (1/0) |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
Project Development |  | 10% | 10% | 40% | 40% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Financial Close |  | 0% | 0% | 0% | 0% | FID | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Construction |  | 0% | 0% | 0% | 0% | 40% | 40% | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Operation |  | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0%
Decommission |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 50%
Earnings Assumption
Asset life (year) - from above |  | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
Periods with subsidy (year) - 1/0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Windfarm Revenue - from Subsidy €/MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Market electricity price €/MWh |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Windfarm Revenue - from Market electricity price €/MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 0 | 0

## OPEX Input
FID Year --------> | Year 0 in the timeline
All Values are Real in FID Year
OPEX Assumptions
[10 empty] | OPEX milEUR per year per MW |  |  | 60000 | EUR
OPEX (Offshore windfarm) | 45 | (mil.EUR/Year)
OPEX (transmission) | 3.0885 | (mil.EUR/Year)
Total OPEX Cost | 48.0885 | (mil.EUR/Year)
(mil.EUR)
|  | (Development) |  |  |  | (FID) |  | (Operation) | [24 empty] | (Decom)
Project Life Cycle (Year) |  | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
Wind Farm Operation (1/0) |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
OPEX Expenditure - R |  | 0 | 0 | 0 | 0 | 0 | 0 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 0 | 0

## AEP_Calculation
Weibull Distribution & AEP calculation
Mean Wind Speed
| @100m height |  | 9.8 |  | (m/s) |  | Total Hours | 8760 | (hrs)
| Wind Shear |  | 0.1 | (Exponent for open waters) |  |  | Average PBA (availability) | 98%
| @ Hub height |  | 9.8939 |  | (m/s)
| Weibull Assumptions | [5 empty] | Loss Factor Assumptions
| Shape Factor |  | 2.4 |  |  |  | Turbine Availability & Performance loss | 2%
| Mean Wind Speed |  | 9.8939 |  | (m/s) |  | Wake Loss | 9%
| Scale Parameter |  | 11.1608 |  |  |  | Array Cable loss | 2%
| Turbine |  | 10 |  | (MW) |  | Export cable loss | 0%
[7 empty] | Turbine Transformer Loss | 0%
[7 empty] | OHVS loss | 0%
[7 empty] | Curtailment & BOP availability | 0%
[7 empty] | Efficiency (%) | 87.4%
Wind Speed | PDF | Hours | Power Curve Values (KW) | Power Curve Values (MW) | Energy Production
0 | 0% | 0 | 0 | 0 | 0
1 | 0.7318% | 64.1089 | 0 | 0 | 0
2 | 1.906% | 166.985 | 0 | 0 | 0
3 | 3.275% | 286.8557 | 0 | 0 | 0
4 | 4.695% | 411.2686 | 131.25 | 0.13125 | 53.979
5 | 6.041% | 529.1589 | 625 | 0.625 | 330.7243
6 | 7.198% | 630.5748 | 1375 | 1.375 | 867.0404
7 | 8.075% | 707.3343 | 2312.5 | 2.3125 | 1635.7105
8 | 8.605% | 753.8056 | 3562.5 | 3.5625 | 2685.4323
9 | 8.761% | 767.4817 | 5000 | 5 | 3837.4087
10 | 8.552% | 749.1655 | 6875 | 6.875 | 5150.5131
11 | 8.022% | 702.6965 | 8750 | 8.75 | 6148.5943
12 | 7.24% | 634.2595 | 9812.5 | 9.8125 | 6223.6715
13 | 6.295% | 551.4059 | 10000 | 10 | 5514.0588
14 | 5.274% | 461.9735 | 10000 | 10 | 4619.7352
15 | 4.259% | 373.102 | 10000 | 10 | 3731.0203
16 | 3.316% | 290.4997 | 10000 | 10 | 2904.9969
17 | 2.489% | 218.0494 | 10000 | 10 | 2180.4942
18 | 1.801% | 157.7595 | 10000 | 10 | 1577.5945
19 | 1.256% | 109.9954 | 10000 | 10 | 1099.9537
20 | 0.8435% | 73.8881 | 10000 | 10 | 738.8813
21 | 0.5457% | 47.8036 | 10000 | 10 | 478.0358
22 | 0.3399% | 29.777 | 10000 | 10 | 297.7705
23 | 0.2038% | 17.8516 | 10000 | 10 | 178.5163
24 | 0.1175% | 10.2963 | 10000 | 10 | 102.9628
25 | 0.06519% | 5.711 | 10000 | 10 | 57.1102
26 | 0.03476% | 3.0451 | 0 | 0 | 0
27 | 0.01781% | 1.5601 | 0 | 0 | 0
28 | 0.008764% | 0.76771 | 0 | 0 | 0
29 | 0.00414% | 0.36269 | 0 | 0 | 0
30 | 0.001877% | 0.16444 | 0 | 0 | 0
|  | Total AEP (from Power Curve) |  |  | 50414.2046 | (MWh)
|  | AEP (After all losses) |  |  | 44060.1999 | (MWh)
|  | Max Energy (from windspeed) |  |  | 87600 | (MWh)
|  | Effective CF (%) |  |  | 50.3%
|  | Power Curve CF |  |  | 57.55%

## AEP Input
AEP Calculation
Gross Capacity factor | 57.55%
Availability loss | 2%
Wake Loss | 9%
Array Cable loss | 2%
Export cable loss | 0%
Turbine Transformer Loss | 0%
OHVS loss | 0%
Curtailment & BOP availability | 0%
Net Capacity Factor | 50.3%
Gros AEP (GWh) | 3781.0653
Efficiency (1 - loss%) | 87.4%
Net AEP (GWh) | 3304.515
(GWh)
|  | (Development) |  |  |  | (FID) |  | (Operation) | [24 empty] | (Decom)
Project Life Cycle (Year) |  | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
Wind Farm Operation (1/0) |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
Gross AEP (GWh) |  | 0 | 0 | 0 | 0 | 0 | 0 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 3781.0653 | 0 | 0
Efficiency (1 - losses) |  | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4% | 87.4%
Net AEP (GWh) |  | 0 | 0 | 0 | 0 | 0 | 0 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 0 | 0

## Summary
Inflation & Tax rate
Inflation rate | 2%
Effective Corporate Tax Rate | 25%
WACC Summary
WACC (Nominal Pre-tax) | 5.2%
WACC (Nominal Post-tax) | 4.5%
WACC (Real - Pre tax) | 3.137%
WACC (Real - Post tax) | 2.451%
Earnings Assumption
Subsidy | 53.25 | (EUR/MWh)
Subdidy Period | 15 | (Years)
Electricity Price | 50 | (EUR/MWh)
Project Timeline | (Proportion stated in the timeline represents the spending percentage/operation percentage)
Project Life Cycle (Year) |  | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
Wind Farm Operation (1/0) |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
Project Development |  | 10% | 10% | 40% | 40% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Financial Close |  | 0% | 0% | 0% | 0% | FID | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Construction |  | 0% | 0% | 0% | 0% | 40% | 40% | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Operation |  | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0%
Decommission |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 50%
(mil. EUR)
Cost Summary - R
DEVEX |  | 8.925 | 8.925 | 35.7 | 35.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Turbine Supply |  | 0 | 0 | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Foundation Supply |  | 0 | 0 | 0 | 0 | 214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Installation |  | 0 | 0 | 0 | 0 | 272.0729 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electrical Supply (Until Landfall) |  | 0 | 0 | 0 | 0 | 230.6118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other CAPEX |  | 0 | 0 | 0 | 0 | 204.0214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CAPEX |  | 0 | 0 | 0 | 0 | 768.2824 | 768.2824 | 384.1412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OPEX |  | 0 | 0 | 0 | 0 | 0 | 0 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 0 | 0
DECOM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88.4237 | 88.4237
Total
Capital Expenditures - R | 2009.9561 | 8.925 | 8.925 | 35.7 | 35.7 | 768.2824 | 768.2824 | 384.1412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OPEX & DECOM Expenditures - R | 1379.0612 | 0 | 0 | 0 | 0 | 0 | 0 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 48.0885 | 88.4237 | 88.4237
Capital Expenditures (per MW) - R | 2.6799
AEP
Net (GWh) | 82612.8748 | 0 | 0 | 0 | 0 | 0 | 0 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 0 | 0
Earnings Assumption
Asset life (year) - from above |  | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
Periods with subsidy (year) - 1/0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Windfarm Revenue - from Subsidy €/MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 53.25 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Windfarm Revenue - from Market electricity price €/MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 0 | 0

## DCF_Calculations
(All cells are referenced from Summary Sheet)
|  | (Development) |  |  |  | (FID) |  | (Operation) | [24 empty] | (Decom)
Project Life Cycle (Year) |  | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
Wind Farm Operation (1/0) |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
Farm Operation (%) |  | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0% | 0%
Financial Inputs
Inflation rate | bar: (Development) -4 to (Decom) 28
Effective Corporate Tax rate |  | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25% | 25%
WACC (Nominal Pre Tax) |  | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2%
WACC (Nominal Post Tax) |  | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5%
WACC (Real Pre Tax) |  | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137% | 3.137%
WACC (Real Post Tax) |  | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451% | 2.451%
Discount Factor (multiplier)
Discount factor (Nominal Pre Tax) |  | 1.2248 | 1.1643 | 1.1067 | 1.052 | 1 | 0.95057 | 0.90358 | 0.85892 | 0.81646 | 0.77611 | 0.73774 | 0.70128 | 0.66661 | 0.63366 | 0.60234 | 0.57257 | 0.54427 | 0.51736 | 0.49179 | 0.46748 | 0.44437 | 0.42241 | 0.40153 | 0.38168 | 0.36281 | 0.34488 | 0.32783 | 0.31163 | 0.29623 | 0.28158 | 0.26766 | 0.25443 | 0.24186
Discount factor (Nominal Post Tax) |  | 1.1925 | 1.1412 | 1.092 | 1.045 | 1 | 0.95694 | 0.91573 | 0.8763 | 0.83856 | 0.80245 | 0.7679 | 0.73483 | 0.70319 | 0.6729 | 0.64393 | 0.6162 | 0.58966 | 0.56427 | 0.53997 | 0.51672 | 0.49447 | 0.47318 | 0.4528 | 0.4333 | 0.41464 | 0.39679 | 0.3797 | 0.36335 | 0.3477 | 0.33273 | 0.3184 | 0.30469 | 0.29157
Discount factor (Real Pre Tax) |  | 1.1315 | 1.0971 | 1.0637 | 1.0314 | 1 | 0.96958 | 0.94009 | 0.91149 | 0.88377 | 0.85688 | 0.83082 | 0.80555 | 0.78104 | 0.75729 | 0.73425 | 0.71192 | 0.69026 | 0.66926 | 0.64891 | 0.62917 | 0.61003 | 0.59147 | 0.57348 | 0.55604 | 0.53912 | 0.52272 | 0.50682 | 0.49141 | 0.47646 | 0.46197 | 0.44791 | 0.43429 | 0.42108
Discount factor (Real Post Tax ) |  | 1.1017 | 1.0753 | 1.0496 | 1.0245 | 1 | 0.97608 | 0.95273 | 0.92993 | 0.90769 | 0.88597 | 0.86478 | 0.84409 | 0.82389 | 0.80418 | 0.78494 | 0.76617 | 0.74784 | 0.72995 | 0.71248 | 0.69544 | 0.6788 | 0.66256 | 0.64671 | 0.63124 | 0.61614 | 0.6014 | 0.58701 | 0.57297 | 0.55926 | 0.54588 | 0.53282 | 0.52007 | 0.50763
Free Cash Flow & IRR Calculation
AEP | (GWh)
Net AEP - R | 82612.8748 | 0 | 0 | 0 | 0 | 0 | 0 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 3304.515 | 0 | 0
Earnings/Revenue | (mil. EUR)
Periods with subsidy (year) - (1/0) |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Subsidy revenue |  | 0 | 0 | 0 | 0 | 0 | 0 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 3.3045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Market revenue |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 0 | 0
Total Earnings (Subsidy + Market Revenue) - R | 4284.3037 | 0 | 0 | 0 | 0 | 0 | 0 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 168.5303 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 0 | 0
EBITDA Calculation
Earnings - R | 4284.3037 | 0 | 0 | 0 | 0 | 0 | 0 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 175.9654 | 168.5303 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 165.2257 | 0 | 0
OPEX Expenditure - R | -1202.2137 | 0 | 0 | 0 | 0 | 0 | 0 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | -48.0885 | 0 | 0
EBITDA - R | 3082.0899 | 0 | 0 | 0 | 0 | 0 | 0 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 120.4417 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 0 | 0
Depreciation Calculation | (mil. EUR)
Depreciation (Straight Line Method)
Opening Balance |  | 0 | 8.925 | 17.85 | 53.55 | 89.25 | 857.5324 | 1625.8149 | 1929.5578 | 1849.1596 | 1768.7613 | 1688.3631 | 1607.9649 | 1527.5666 | 1447.1684 | 1366.7701 | 1286.3719 | 1205.9736 | 1125.5754 | 1045.1772 | 964.7789 | 884.3807 | 803.9824 | 723.5842 | 643.1859 | 562.7877 | 482.3895 | 401.9912 | 321.593 | 241.1947 | 160.7965 | 80.3982 | 1.1937e-12 | 0
Investment - R Input | 2009.9561 | 8.925 | 8.925 | 35.7 | 35.7 | 768.2824 | 768.2824 | 384.1412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation - R Input |  | 0 | 0 | 0 | 0 | 0 | 0 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 0 | 0
Asset Value (Before Depreciation) |  | 0 | 8.925 | 17.85 | 53.55 | 89.25 | 857.5324 | 1625.8149 | 1929.5578 | 1849.1596 | 1768.7613 | 1688.3631 | 1607.9649 | 1527.5666 | 1447.1684 | 1366.7701 | 1286.3719 | 1205.9736 | 1125.5754 | 1045.1772 | 964.7789 | 884.3807 | 803.9824 | 723.5842 | 643.1859 | 562.7877 | 482.3895 | 401.9912 | 321.593 | 241.1947 | 160.7965 | 80.3982 | 1.1937e-12 | 0
Asset Value (After Depreciation) |  | 8.925 | 17.85 | 53.55 | 89.25 | 857.5324 | 1625.8149 | 1929.5578 | 1849.1596 | 1768.7613 | 1688.3631 | 1607.9649 | 1527.5666 | 1447.1684 | 1366.7701 | 1286.3719 | 1205.9736 | 1125.5754 | 1045.1772 | 964.7789 | 884.3807 | 803.9824 | 723.5842 | 643.1859 | 562.7877 | 482.3895 | 401.9912 | 321.593 | 241.1947 | 160.7965 | 80.3982 | 1.1937e-12 | 0 | 0
Depreciation (Declining Balance Method)
Residual Asset Value (Assumption) | 0
Depreciation Rate |  | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20%
Opening Balance |  | 0 | 8.925 | 17.85 | 53.55 | 89.25 | 857.5324 | 1625.8149 | 1684.7931 | 1347.8345 | 1078.2676 | 862.6141 | 690.0913 | 552.073 | 441.6584 | 353.3267 | 282.6614 | 226.1291 | 180.9033 | 144.7226 | 115.7781 | 92.6225 | 74.098 | 59.2784 | 47.4227 | 37.9382 | 30.3505 | 24.2804 | 19.4243 | 15.5395 | 12.4316 | 9.9453 | 0 | 0
Investment - R Input | 2009.9561 | 8.925 | 8.925 | 35.7 | 35.7 | 768.2824 | 768.2824 | 384.1412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation - R Input |  | 0 | 0 | 0 | 0 | 0 | 0 | 325.163 | 336.9586 | 269.5669 | 215.6535 | 172.5228 | 138.0183 | 110.4146 | 88.3317 | 70.6653 | 56.5323 | 45.2258 | 36.1807 | 28.9445 | 23.1556 | 18.5245 | 14.8196 | 11.8557 | 9.4845 | 7.5876 | 6.0701 | 4.8561 | 3.8849 | 3.1079 | 2.4863 | 9.9453 | 0 | 0
Asset Value (Before Depreciation) |  | 0 | 8.925 | 17.85 | 53.55 | 89.25 | 857.5324 | 1625.8149 | 1684.7931 | 1347.8345 | 1078.2676 | 862.6141 | 690.0913 | 552.073 | 441.6584 | 353.3267 | 282.6614 | 226.1291 | 180.9033 | 144.7226 | 115.7781 | 92.6225 | 74.098 | 59.2784 | 47.4227 | 37.9382 | 30.3505 | 24.2804 | 19.4243 | 15.5395 | 12.4316 | 9.9453 | 0 | 0
Asset Value (After Depreciation) |  | 8.925 | 17.85 | 53.55 | 89.25 | 857.5324 | 1625.8149 | 1684.7931 | 1347.8345 | 1078.2676 | 862.6141 | 690.0913 | 552.073 | 441.6584 | 353.3267 | 282.6614 | 226.1291 | 180.9033 | 144.7226 | 115.7781 | 92.6225 | 74.098 | 59.2784 | 47.4227 | 37.9382 | 30.3505 | 24.2804 | 19.4243 | 15.5395 | 12.4316 | 9.9453 | 0 | 0 | 0
Tax Calculation
Depreciation |  | 0 | 0 | 0 | 0 | 0 | 0 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 0 | 0
Taxable Income - Gross |  | 0 | 0 | 0 | 0 | 0 | 0 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 40.0435 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 0 | 0
Carried Forward (Negative Tax) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable Income - Net |  | 0 | 0 | 0 | 0 | 0 | 0 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 40.0435 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 0 | 0
Tax Amount Payable | 268.0335 | 0 | 0 | 0 | 0 | 0 | 0 | 11.8697 | 11.8697 | 11.8697 | 11.8697 | 11.8697 | 11.8697 | 11.8697 | 11.8697 | 11.8697 | 11.8697 | 11.8697 | 11.8697 | 11.8697 | 11.8697 | 10.0109 | 9.1847 | 9.1847 | 9.1847 | 9.1847 | 9.1847 | 9.1847 | 9.1847 | 9.1847 | 9.1847 | 9.1847 | 0 | 0
Cash Flows Summary
EBITDA - R Input | 3082.0899 | 0 | 0 | 0 | 0 | 0 | 0 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 120.4417 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 0 | 0
Depreciation - R Input | -2009.9561 | 0 | 0 | 0 | 0 | 0 | 0 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | -80.3982 | 0 | 0
EBIT | 1072.1339 | 0 | 0 | 0 | 0 | 0 | 0 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 47.4786 | 40.0435 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 36.739 | 0 | 0
Tax Amount | -268.0335 | 0 | 0 | 0 | 0 | 0 | 0 | -11.8697 | -11.8697 | -11.8697 | -11.8697 | -11.8697 | -11.8697 | -11.8697 | -11.8697 | -11.8697 | -11.8697 | -11.8697 | -11.8697 | -11.8697 | -11.8697 | -10.0109 | -9.1847 | -9.1847 | -9.1847 | -9.1847 | -9.1847 | -9.1847 | -9.1847 | -9.1847 | -9.1847 | -9.1847 | 0 | 0
Net Operating Profit After Tax (NOPAT) | 804.1004 | 0 | 0 | 0 | 0 | 0 | 0 | 35.609 | 35.609 | 35.609 | 35.609 | 35.609 | 35.609 | 35.609 | 35.609 | 35.609 | 35.609 | 35.609 | 35.609 | 35.609 | 35.609 | 30.0326 | 27.5542 | 27.5542 | 27.5542 | 27.5542 | 27.5542 | 27.5542 | 27.5542 | 27.5542 | 27.5542 | 27.5542 | 0 | 0
Depreciation - R Input |  | 0 | 0 | 0 | 0 | 0 | 0 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 80.3982 | 0 | 0
DEVEX |  | -8.925 | -8.925 | -35.7 | -35.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Turbine Supply |  | 0 | 0 | 0 | 0 | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Foundation Supply |  | 0 | 0 | 0 | 0 | -214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Installation |  | 0 | 0 | 0 | 0 | -272.0729 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electrical Supply (Until Landfall) |  | 0 | 0 | 0 | 0 | -230.6118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other CAPEX |  | 0 | 0 | 0 | 0 | -204.0214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CAPEX |  | 0 | 0 | 0 | 0 | -768.2824 | -768.2824 | -384.1412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Decom Expenditure - R |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -88.4237 | -88.4237
Free Cash Flow (After Tax) | 627.253 | -8.925 | -8.925 | -35.7 | -35.7 | -768.2824 | -768.2824 | -268.134 | 116.0072 | 116.0072 | 116.0072 | 116.0072 | 116.0072 | 116.0072 | 116.0072 | 116.0072 | 116.0072 | 116.0072 | 116.0072 | 116.0072 | 116.0072 | 110.4308 | 107.9525 | 107.9525 | 107.9525 | 107.9525 | 107.9525 | 107.9525 | 107.9525 | 107.9525 | 107.9525 | 107.9525 | -88.4237 | -88.4237
Free Cash Flow (Before Tax) | 895.2865 | -8.925 | -8.925 | -35.7 | -35.7 | -768.2824 | -768.2824 | -256.2643 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 127.8769 | 120.4417 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | 117.1372 | -88.4237 | -88.4237
Discounted FCF (Real Values)
Free Cash Flow (Post Tax) | -22.3025 | -9.8327 | -9.5975 | -37.4714 | -36.575 | -768.2824 | -749.9025 | -255.4581 | 107.8789 | 105.2981 | 102.779 | 100.3202 | 97.9202 | 95.5776 | 93.291 | 91.0592 | 88.8807 | 86.7544 | 84.6789 | 82.6531 | 80.6758 | 74.9605 | 71.5251 | 69.814 | 68.1438 | 66.5136 | 64.9223 | 63.3692 | 61.8531 | 60.3734 | 58.9291 | 57.5193 | -45.9868 | -44.8867
Free Cash Flow (Pre Tax) | 21.6801 | -10.0988 | -9.7916 | -37.9751 | -36.82 | -768.2824 | -744.9126 | -240.9112 | 116.5589 | 113.0133 | 109.5757 | 106.2426 | 103.0109 | 99.8775 | 96.8394 | 93.8937 | 91.0376 | 88.2684 | 85.5834 | 82.9801 | 80.456 | 73.473 | 69.2836 | 67.1761 | 65.1327 | 63.1515 | 61.2305 | 59.368 | 57.5621 | 55.8112 | 54.1135 | 52.4675 | -38.4015 | -37.2334
Net Cash Position (Pre Tax) |  | -10.0988 | -19.8904 | -57.8656 | -94.6856 | -862.968 | -1607.8806 | -1848.7919 | -1732.233 | -1619.2196 | -1509.644 | -1403.4014 | -1300.3905 | -1200.5131 | -1103.6737 | -1009.78 | -918.7424 | -830.4741 | -744.8906 | -661.9105 | -581.4545 | -507.9815 | -438.6979 | -371.5219 | -306.3892 | -243.2377 | -182.0072 | -122.6392 | -65.0771 | -9.2659 | 44.8476 | 97.3151 | 58.9135 | 21.6801
Net Cash Position (Post Tax) |  | -9.8327 | -19.4302 | -56.9016 | -93.4766 | -861.759 | -1611.6615 | -1867.1196 | -1759.2406 | -1653.9426 | -1551.1635 | -1450.8434 | -1352.9232 | -1257.3456 | -1164.0546 | -1072.9954 | -984.1146 | -897.3602 | -812.6813 | -730.0281 | -649.3523 | -574.3918 | -502.8667 | -433.0527 | -364.9089 | -298.3954 | -233.4731 | -170.1039 | -108.2508 | -47.8774 | 11.0517 | 68.571 | 22.5842 | -22.3025
IRR (FCF Post Tax) | 2.347%
IRR (FCF Pre Tax) | 3.241%
Discounted Expenditures & Earnings
Discounted Expenditures (Real Pre Tax ) | (mil. EUR)
DEVEX |  | 10.0988 | 9.7916 | 37.9751 | 36.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Turbine Supply |  | 0 | 0 | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Foundation Supply |  | 0 | 0 | 0 | 0 | 214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Installation |  | 0 | 0 | 0 | 0 | 272.0729 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electrical Supply (Until Landfall) |  | 0 | 0 | 0 | 0 | 230.6118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other CAPEX |  | 0 | 0 | 0 | 0 | 204.0214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CAPEX |  | 0 | 0 | 0 | 0 | 768.2824 | 744.9126 | 361.1268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OPEX |  | 0 | 0 | 0 | 0 | 0 | 0 | 45.2075 | 43.8324 | 42.4991 | 41.2063 | 39.9529 | 38.7376 | 37.5593 | 36.4168 | 35.309 | 34.235 | 33.1936 | 32.1839 | 31.205 | 30.2558 | 29.3354 | 28.4431 | 27.5779 | 26.739 | 25.9257 | 25.1371 | 24.3724 | 23.6311 | 22.9123 | 22.2153 | 21.5396 | 0 | 0
DECOM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.4015 | 37.2334
Total | 2844.2655 | 10.0988 | 9.7916 | 37.9751 | 36.82 | 768.2824 | 744.9126 | 406.3343 | 43.8324 | 42.4991 | 41.2063 | 39.9529 | 38.7376 | 37.5593 | 36.4168 | 35.309 | 34.235 | 33.1936 | 32.1839 | 31.205 | 30.2558 | 29.3354 | 28.4431 | 27.5779 | 26.739 | 25.9257 | 25.1371 | 24.3724 | 23.6311 | 22.9123 | 22.2153 | 21.5396 | 38.4015 | 37.2334
Discounted Expenditures (Real Post Tax ) | (mil. EUR)
DEVEX |  | 9.8327 | 9.5975 | 37.4714 | 36.575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Turbine Supply |  | 0 | 0 | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Foundation Supply |  | 0 | 0 | 0 | 0 | 214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Installation |  | 0 | 0 | 0 | 0 | 272.0729 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electrical Supply (Until Landfall) |  | 0 | 0 | 0 | 0 | 230.6118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other CAPEX |  | 0 | 0 | 0 | 0 | 204.0214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CAPEX |  | 0 | 0 | 0 | 0 | 768.2824 | 749.9025 | 365.9811 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OPEX |  | 0 | 0 | 0 | 0 | 0 | 0 | 45.8152 | 44.7191 | 43.6493 | 42.6051 | 41.5858 | 40.5909 | 39.6198 | 38.672 | 37.7468 | 36.8438 | 35.9624 | 35.102 | 34.2623 | 33.4426 | 32.6425 | 31.8616 | 31.0994 | 30.3554 | 29.6292 | 28.9203 | 28.2285 | 27.5531 | 26.894 | 26.2506 | 25.6226 | 0 | 0
DECOM |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45.9868 | 44.8867
Total | 2938.1902 | 9.8327 | 9.5975 | 37.4714 | 36.575 | 768.2824 | 749.9025 | 411.7963 | 44.7191 | 43.6493 | 42.6051 | 41.5858 | 40.5909 | 39.6198 | 38.672 | 37.7468 | 36.8438 | 35.9624 | 35.102 | 34.2623 | 33.4426 | 32.6425 | 31.8616 | 31.0994 | 30.3554 | 29.6292 | 28.9203 | 28.2285 | 27.5531 | 26.894 | 26.2506 | 25.6226 | 45.9868 | 44.8867
Discounted AEP
AEP (Real Pre Tax) | 54947.9379 | 0 | 0 | 0 | 0 | 0 | 0 | 3106.5374 | 3012.042 | 2920.4209 | 2831.5868 | 2745.4549 | 2661.943 | 2580.9713 | 2502.4627 | 2426.3422 | 2352.5371 | 2280.977 | 2211.5937 | 2144.3209 | 2079.0944 | 2015.852 | 1954.5333 | 1895.0798 | 1837.4348 | 1781.5432 | 1727.3518 | 1674.8088 | 1623.864 | 1574.4689 | 1526.5763 | 1480.1406 | 0 | 0
AEP (Real Post Tax) | 59761.6501 | 0 | 0 | 0 | 0 | 0 | 0 | 3148.2955 | 3072.9774 | 2999.4612 | 2927.7038 | 2857.663 | 2789.2979 | 2722.5683 | 2657.435 | 2593.86 | 2531.806 | 2471.2365 | 2412.116 | 2354.4098 | 2298.0843 | 2243.1062 | 2189.4433 | 2137.0643 | 2085.9384 | 2036.0355 | 1987.3265 | 1939.7829 | 1893.3766 | 1848.0805 | 1803.868 | 1760.7133 | 0 | 0
Discounted Tax Amounts (Real Post Tax) | 197.4079 | 0 | 0 | 0 | 0 | 0 | 0 | 11.3085 | 11.038 | 10.7739 | 10.5162 | 10.2646 | 10.019 | 9.7793 | 9.5454 | 9.317 | 9.0941 | 8.8766 | 8.6642 | 8.4569 | 8.2546 | 6.7954 | 6.0855 | 5.9399 | 5.7978 | 5.6591 | 5.5237 | 5.3915 | 5.2625 | 5.1367 | 5.0138 | 4.8938 | 0 | 0
Discounted Revenues (EBITDA)
Real Pre Tax | 2865.9457 | 0 | 0 | 0 | 0 | 0 | 0 | 165.4231 | 160.3912 | 155.5124 | 150.782 | 146.1955 | 141.7485 | 137.4367 | 133.2561 | 129.2027 | 125.2726 | 121.462 | 117.7674 | 114.1851 | 110.7118 | 102.8085 | 97.7267 | 94.754 | 91.8717 | 89.0772 | 86.3676 | 83.7404 | 81.1932 | 78.7234 | 76.3288 | 74.007 | 0 | 0
Real Post Tax | 3113.2956 | 0 | 0 | 0 | 0 | 0 | 0 | 167.6467 | 163.636 | 159.7213 | 155.9002 | 152.1706 | 148.5301 | 144.9768 | 141.5084 | 138.123 | 134.8187 | 131.5933 | 128.4452 | 125.3723 | 122.373 | 114.3984 | 109.4722 | 106.8532 | 104.2969 | 101.8018 | 99.3663 | 96.9891 | 94.6688 | 92.404 | 90.1934 | 88.0357 | 0 | 0

## Results
Results
Summary
Capital Investment | 2009.9561 | (mil.EUR)
Specific Investment | 2.6799 | (mil.EUR/MW)
NPV (Pre Tax) | 21.6801 | (mil.EUR)
NPV (Post Tax) | -22.3025 | (mil.EUR)
IRR (Pre Tax) | 3.241% | (%)
IRR (Post Tax) | 2.347% | (%)
LCOE (Real Pre-Tax) |  |  |  | LCOE (Real Post-Tax)
| EUR/MWh | Numerator | Denominator |  | EUR/MWh | Numerator | Denominator
DEVEX | 1.7232 | 94.6856 | 54.9479 | DEVEX | 1.5642 | 93.4766 | 59.7617
Turbine | 18.199 | 1000 | 54.9479 | Turbine | 16.7331 | 1000 | 59.7617 | Note: Due to the differences in the year of discounting, the total contribution of individual CAPEX components to the LCOE can differ from the Final CAPEX contribution to the LCOE. Refer to the DCF_Calculations sheet.
Foundation | 3.8946 | 214 | 54.9479 | Foundation | 3.5809 | 214 | 59.7617
Installation | 4.9515 | 272.0729 | 54.9479 | Installation | 4.5526 | 272.0729 | 59.7617
Electrical | 4.1969 | 230.6118 | 54.9479 | Electrical | 3.8589 | 230.6118 | 59.7617
Other CAPEX | 3.713 | 204.0214 | 54.9479 | Other CAPEX | 3.4139 | 204.0214 | 59.7617
CAPEX (Total) | 34.1109 | 1874.3219 | 54.9479 | CAPEX (Total) | 31.528 | 1884.166 | 59.7617
OPEX | 14.5524 | 799.6231 | 54.9479 | OPEX | 14.5524 | 869.6741 | 59.7617
DECOM | 1.3765 | 75.6349 | 54.9479 | DECOM | 1.5206 | 90.8735 | 59.7617
LCOE | 51.7629 | 2844.2655 | 54.9479 | Tax Payments | 3.3033 | 197.4079 | 59.7617
|  |  |  | LCOE | 52.4684 | 3135.5981 | 59.7617
Levelized Revenue (Real Pre-Tax) |  |  |  | Levelized Revenue (Real Post-Tax)
Revenues | 52.1575 | 2865.9457 | 54.9479 | Revenue | 52.0952 | 3113.2956 | 59.7617
Profit | 0.39456 |  |  | Profit | -0.37319
Check (profit/loss) | OK |  |  | Check (profit/loss) | OK